## Calculator
Return on Investment Calculator
Introduction:
1. Capital Costs:
A. Controls:
Control System | Control Program Development/ Purchase Cost | Installation Cost | Startup & Commissioning Cost | Other Costs | Subtotal (sum of cost columns) | Comments
ABAC (proprietary system) | 25000 |  |  |  | 25000 | third-party cost includes installation & startup
0
0
0
0
B. Instrumentation:
Instrument(s) | Instrument Cost (Total) | Accessories Cost (transmitter, cleaning units, supports, and etc.) (Total) | Installation Cost (Percent of Instruments & Accessories) | Other Costs | Subtotal (sum of cost columns) | Comments
Dissolved Oxygen sensor | 6000 | 3000 | 3600 |  | 12600
ISE Ammonia sensor | 8000 | 3000 | 4400 |  | 15400
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
|  |  | 0 |  | 0
| Installation (% of instrument + accessories) | 40%
C. Other Costs (e.g. related equipment upgrades, electrical upgrades, data storage costs):
Item |  | Equipment & Materials | Installation | Subtotal (sum of cost columns) | Comments
Automatic valves |  | 50000 | 20000 | 70000
Valve installation |  | 10000 | 4000 | 14000
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
| Installation (% of equipment/materials) | 40%
Total Capital Costs = |  | 137000
Annual O&M Costs:
Controls:
Control System | Annual In-house Labor (hours) | In-House Labor Costs | Third-party Support & Subscriptions Cost | Other Costs | Subtotal (sum of cost columns) | Comments
ABAC | 20 | 1500 | 2500 | 5000 | 9000
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
| Average Controls Labor Cost: | 75 | $/hr
Instrumentation:
Instrument(s) | Annual In-house Labor (hours) 1 | In-House Labor Costs | Parts | Service Contracts | Subtotal (sum of cost columns) | Comments
Dissolved oxygen sensor | 100 | 5000 | 1000 | 0 | 6000
ISE Ammonium sensor | 100 | 5000 | 2500 | 5000 | 12500
Annual training | 40 | 2000 |  |  | 2000
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
1. Labor for in-house cleaning, calibration, preventive maintenance and etc. related to the instrument(s).
| Average Instrumentation Labor Cost: | 50 | $/hr
Data Validation & Management:
Items | Annual In-house Labor (hours) | Labor Costs | Consumables ($/year) | Other ($/year) | Subtotal (sum of cost columns) | Comments
DO validation testing | 50 | 2500 | 1000 | 0 | 3500 | assume in-house laboratory analysis
Ammonia validation testing | 100 | 5000 | 2500 | 5000 | 12500 | assume in-house laboratory analysis
Data management system | 100 | 5000 |  | 10000 | 15000
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
|  | 0 |  |  | 0
| Average Data Management Labor Cost: | 50 | $/hr
Total Annual O&M Costs = |  | 60500
Annual O&M Savings:
Choose Approach:
Enter "1" if using Quantity Savings Calculator or a "2" if using Percent Savings Calculator: |  |  |  |  | 2
Option 1 Annual Savings - Quantity Savings Calculator
Item | Unit | Quantity | Unit Cost | Subtotal | Comments
Energy | kwh | 600000 | 0.15 | 90000
Chemicals | gallons | 3000 | 2.5 | 7500
Labor | hours |  |  | 2
Sludge | wet tons |  |  | 0
<Other> |  |  |  | 0
<Other> |  |  |  | 0
Option 2 Annual Savings - Percent Savings Calculator
Item | Total annual budget: |  | 2000000
Labor as percent of total | 40 | % | 800000
Electricity as percent of total | 30 | % | 600000
Sludge Disposal as percent of total | 25 | % | 500000
Chemical as percent of total | 5 | % | 100000
Other as percent of total | 0 | % | 0
OK
| Percent Savings |  | Savings
Labor | 0 | % | 0
Electricity | 15 | % | 90000
Sludge Disposal | 0 | % | 0
Chemical | 5 | % | 5000
Other | 0 | % | 0
Total Annual Savings = |  | 95000
Net Annual Savings & Return on Investment:
Calculations:
Net Annual Savings = Total Annual Savings - Total Annual O&M Costs - Annual Capital Recovery Costs*
*If you'd like to account for the Capital Costs in the Net Annual Savings calculation, the formula can incorporate the Capital Costs as Annual Capital Recovery Costs. The Annual Capital Recovery Costs are calculated as the equivalent uniform annual amount of the Capital Costs assuming the money for the Capital Costs is borrowed (e.g., bonding) with a user-specified period of years (n) and interest rate (i).
Enter "1" if including Annual Capital Recovery Costs or a "0" if not including Capital Costs in Net Annual Savings calculation:
0
where estimated Annual Capital Recovery Costs = (A/P,i,n):
| Borrowing term (n) | 20 | years
| Interest rate (i) | 2 | %
| Estimated Annual Capital Recovery Costs | 8000 | rounded to nearest $1,000
Net Annual Savings = |  | 34500
ROI = Capital Costs/(Annual Savings - Annual O&M Costs)
Return on Investment (ROI) = |  | 3.971 | Years
Note:
If the net annual savings and ROI results are negative, then the annual costs are estimated to exceed the annual savings, and implementation of the system will not result in a cost savings. However, some of the benefits may be qualitative (e.g., improving reliability), and identification and articulation of both qualitative and quantitative costs & benefits can support the justification for implementation.
This calculator can be used to aid in the quantification of the net savings and Return on Investment (ROI) for your WRRF. Calculation of the ROI can be an important step in building a business case for implementation.
The calculator has four main sections: 1) capital costs; 2) annual operating & maintenance (O&M) costs; 3) annual savings; and 4) net annual savings & ROI. The ROI is a simple payback calculation (in years) based on the cost and savings inputs.
The green shaded cells are for user entries. The current inputs in the green cells are example inputs to demonstrate how the spreadsheet ROI tool works. The green cells should be cleared prior to your use. The other cells are locked so formulas aren't inadvertently deleted.
The calculator is designed to print in portrait mode on 11x17 paper. If printing to letter size paper (8.5x11), scale to fit columns on one page or to 65%.
Two options are available for estimating the annual O&M savings:
  - Option 1 allows for direct entry of quantities of materials saved and associated unit cost.
  - Option 2 estimates savings based on overall WRRF budget, estimated breakdown between the main categories of cost: labor, electricity, sludge disposal, chemicals and other, and anticipated percent saving for each budget category.
Once the approach is chosen and entered, any inputs into the tables associated with the other (non-chosen) approach will not be included in the total annual savings calculation.